As per our assembler, as soon as it gets connected to the calibrator, all of the S10T stopped communicating.

She noticed the red jumper, was this repaired?